## Slide 1: Model predictive control
Prof. Davide M. Raimondo
Università degli Studi di Pavia
davide.raimondo@unipv.it

## Slide 2: HYBRID MPC

## Slide 3: HYBRID Model predictive control
We consider system consisting of
  continuous dynamics : described by one or more difference (or differential) equations, states
  belong to a continuum
discrete events: state variables assume discrete values from a countable set, e.g.
        binary digits {0, 1},
        N, Z, . . .
        finite set of symbols
Hybrid systems: system whose evolution depends on both continuous dynamics and discrete events.
Examples: systems with switches, valves, mechanical systems, computer programs etc.

## Slide 4: Hybrid system: example
DC-DC converter
Continuous dynamics: states
Discrete events: S=0, S=1

## Slide 5: Hybrid system: example
On-Off Temperature Control
Discrete input ⇒ heating u ∈ {ON,OFF}
Continuous dynamics: temperature of the room (state). Evolution regulated by differential equations

## Slide 6: Discrete hybrid automata
Interconnection between:
switched affine system (SAS)
  ⇒ continuous dynamics
finite state machine (FSM)
  ⇒ discrete events
Interconnection based on:
Event Generator (EG)
  – logic signals from the constraints on continuous states and time
  – triggers mode switching of the FSM
Mode Selector (MS)
  ⇒ selection of an affine subsystem

## Slide 7: Discrete hybrid automata
Finite State Machine (Automaton)
Discrete time dynamic process:

## Slide 8: Discrete hybrid automata
Switched Affine System (SAS)
State update equation:

## Slide 9: Discrete hybrid automata
Mode Selector (MS)
Boolean function

## Slide 10: Discrete hybrid automata
Event Generator(EG)
Defined by function

## Slide 11: Control of hybrid systems
Different approaches:
  heuristics and ad hoc solutions
  systematic and general approach: MPC
In order to use MPC we need a mathematical model that is
  descriptive: captures the behavior of the hybrid system
  simple (enough) for analysis and the prediction of the states
Discrete Hybrid Automata: good framework for the description of a hybrid system
BUT not convenient for the MPC formulation
How to describe the interaction between continuous dynamics and propositional logic rules ?
Idea: Associate to each Boolean variable pi a binary integer variable δi!

## Slide 12: Translation of Logic Rules into Linear Integer Inequalities
For a logic proposition ­ it is always possible to define a set of linear inequalities:
where
Analytic approach
Transform into a Conjunctive Normal Form (CNF) :
Translation of a logic proposition in CNF into
algebraic inequalities:

## Slide 13: Translation of Logic Rules into Linear Integer Inequalities
Example
Remove implication
using DeMorgan’s theorem, obtain CNF:
Introduce and write the inequalities

## Slide 14: Combining Logic Rules and Continuous Dynamics
Linear inequality as logic condition
Boolean variable p and continuous variable x ∈ Rn:
Translated to linear inequalities:

## Slide 15: Hybrid modeling
Consider the following system:
with constraints
Associate
State update equation becomes
Introduce disaggregated variable then:
constraints on x: constraints on z:

## Slide 16: Mixed Logical Dynamical (MLD) Hybrid Model

## Slide 17: Mpc for hybrid system
Mixed integer (because of the binaries) LPs and QPs
Complexity strongly depends on the problem structure and the initial setup
In general:
  Mixed-Integer programming is HARD
  efficient general purpose solvers for MILP/MIQP: CPLEX, XPRESS-MP
    ⇒ based on Branch-And-Bound , Branch-And-Cut methods + a lot of heuristics
  on-line optimization is good for applications allowing large sampling intervals (typically minutes ), requires expensive hardware and (even more) expensive software
  for problems requiring fast sampling rate
    ⇒ explicit solution of the MPC